## Slide 1
Protection concepts and protection solutions in EMC
SHIELDED CABLES
Notes: From ref. [10]

## Slide 2
Protection concepts and protection solutions in EMC
Use of shielded cables :
- to transmit information between equipment contained within two protective enclosures.
Two distinct transmission lines can be defined:
- an external line having currents and charges flowing on the exterior of the cable and a ground-plane return
- an internal line consisting of the conductors inside the shield.
SHIELDED CABLES
Notes: From ref. [10]

## Slide 3
Protection concepts and protection solutions in EMC
Use of shielded cables :
SHIELDED CABLES
Notes: From ref. [10]

## Slide 4
Protection concepts and protection solutions in EMC
Coupling process :
SHIELDED CABLES
1. Diffusion of the E and H-fields through the sheath material.
2. Penetration of the fields through the small appertures of the braided shields.
3. Purpoising : an induction phenomena due to the overlapping of the individual strands (or carriers) of the shield.
Notes: From ref. [10]

## Slide 5
Protection concepts and protection solutions in EMC
Physical explanation of the diffusion process :
SHIELDED CABLES
Notes: From ref. [10]

## Slide 6
Protection concepts and protection solutions in EMC
Transfer impedance definition :
SHIELDED CABLES
Notes: From ref. [10]

## Slide 7
Protection concepts and protection solutions in EMC
NUMERICAL EXAMPLE OF SHIELDED CABLE SYSTEM
SHIELDED CABLES
A shielded cable RG-58 illuminated by an EMP plane wave :
E(t) = E0(e-1t - e-2t), with E0 = 50 kV/m
Induced shield current
Notes: From ref. [10]

## Slide 8
Protection concepts and protection solutions in EMC
NUMERICAL EXAMPLE OF SHIELDED CABLE SYSTEM
SHIELDED CABLES
Internal voltage response at the load impedance
Internal current in a 50  load :
I2(i) = 200/50 = 4 A
Shielding effectiveness for the peak current : SE = 20 log(500/4)= 42 dB
The shielding effectiveness is not a significative parameter  depends on the load value.
Notes: From ref. [10]

## Slide 9
Protection concepts and protection solutions in EMC
CABLES WITH SHIELD INTERRUPTIONS
TYPES OF DISCONTINUITIES
SHIELDED CABLES
Notes: From ref. [10]